## Funding Summary
CITY OF CRANBROOK |  | c | d | e | f | c-d-e-f g | g x % h | h x % i | (h * %) i | (h * %) i | h - i j |  | c-h+i-(d+e+f) k
CAPITAL FUNDING SUMMARY |  | TOTAL CAPITAL COST (20 Yr. Horizon) | Less: Non-DCC Funding |  |  | Net Capital Cost for DCC Calculations | Benefit to New Development | Less: |  |  | DCC Recoverable Amount | DCC Recoverable Amount | Total Municipal Responsibility
# | Project Name |  | Developer Contrib. | Provincial Grants | Other |  |  | Municipal Assist
1 | Total Road System Capital Costs | 37840000 | 0 | 8733090.9091 | 0 | 29106909.0909 | 15065090.9091 | 7683196.3636 |  |  | 7381894.5455 |  | 21725014.5455
2 | Total Water System Capital Costs | 45345000 | 1300000 | 0 | 0 | 44045000 | 23370000 | 2570700 |  |  | 20799300 |  | 23245700
3 | Total Storm System Capital Costs | 4980185 | 0 | 0 | 0 | 4980185 | 0 | 0 |  |  | 4488392 |  | 4980185
4 | Total Sewage System Capital Costs | 58495000 | 4020000 | 0 | 0 | 54475000 | 31112500 | 3422375 |  |  | 27690125 |  | 30804875
|  | 146660185 | 5320000 | 8733090.9091 | 0 | 132607094.0909 | 69547590.9091 | 13676271.3636 | 0 | 0 | 60359711.5455 | 0 | 80755774.5455

## DCC Rate Summary
SUMMARY OF CRANBROOK 2004 DEVELOPMENT COST CHARGE
|  | Road System | Water System | Storm Sewer System | Sewage System | Total
Collection basis
RESIDENTIAL - Low Density | per dwelling unit | 407 | 699 | 385 | 541 | 2032
RESIDENTIAL - Medium Density | per dwelling unit | 231 | 546 | 231 | 422 | 1430
RESIDENTIAL - High Density | per dwelling unit | 214 | 372 | 212 | 287 | 1085
COMMERCIAL | per m2 of gross floor space | 21.38 | 3.5 | 3.81 | 2.7 | 31.39
INDUSTRIAL | per hectare of total site area | 7602 | 8481 | 9547 | 6556 | 32186
INSTITUTIONAL | per m2 of gross floor space | 12.22 | 4.59 | 6.16 | 3.55 | 26.52
SUMMARY OF PRELIMINARY DRAFT CRANBROOK 2010 DEVELOPMENT COST CHARGE
|  | Road System | Water System | Storm Sewer System | Sewage System | Total
Collection basis
RESIDENTIAL - Low Density | per dwelling unit | 473.4516 | 2491.7407 | 438.6738 | 3128.0233 | 6531.8895
RESIDENTIAL - Medium Density | per dwelling unit | 268.2908 | 1893.723 | 263.2043 | 2377.2977 | 4802.5158
RESIDENTIAL - High Density | per dwelling unit | 248.5621 | 1320.6226 | 228.1104 | 1657.8524 | 3455.1475
COMMERCIAL | per m2 of gross floor space | 24.8562 | 5.9802 | 3.2462 | 10.3225 | 44.4051
INDUSTRIAL | per hectare of total site area | 8837.7793 | 30199.8978 | 10835.2439 | 52144.1491 | 102017.07
INSTITUTIONAL | per m2 of gross floor space | 14.2035 | 7.4752 | 5.1325 | 10.3225 | 37.1337
CRANBROOK 2010 vs 2004 DEVELOPMENT COST CHARGE - $ Increase / (Decrease)
|  | Road System | Water System | Storm Sewer System | Sewage System | Total
Collection basis
RESIDENTIAL - Low Density | per dwelling unit | 66.4516 | 1792.7407 | 53.6738 | 2587.0233 | 4499.8895
RESIDENTIAL - Medium Density | per dwelling unit | 37.2908 | 1347.723 | 32.2043 | 1955.2977 | 3372.5158
RESIDENTIAL - High Density | per dwelling unit | 34.5621 | 948.6226 | 16.1104 | 1370.8524 | 2370.1475
COMMERCIAL | per m2 of gross floor space | 3.4762 | 2.4802 | -0.56381 | 7.6225 | 13.0151
INDUSTRIAL | per hectare of total site area | 1235.7793 | 21718.8978 | 1288.2439 | 45588.1491 | 69831.07
INSTITUTIONAL | per m2 of gross floor space | 1.9835 | 2.8852 | -1.0275 | 6.7725 | 10.6137
CRANBROOK 2010 vs 2004 DEVELOPMENT COST CHARGE - % Increase / (Decrease)
|  | Road System | Water System | Storm Sewer System | Sewage System | Total
Collection basis
RESIDENTIAL - Low Density | per dwelling unit | 16.33% | 256.5% | 13.94% | 478.2% | 221.5%
RESIDENTIAL - Medium Density | per dwelling unit | 16.14% | 246.8% | 13.94% | 463.3% | 235.8%
RESIDENTIAL - High Density | per dwelling unit | 16.15% | 255% | 7.599% | 477.6% | 218.4%
COMMERCIAL | per m2 of gross floor space | 16.26% | 70.86% | -14.8% | 282.3% | 41.46%
INDUSTRIAL | per hectare of total site area | 16.26% | 256.1% | 13.49% | 695.4% | 217%
INSTITUTIONAL | per m2 of gross floor space | 16.23% | 62.86% | -16.68% | 190.8% | 40.02%

## Equivalent Unit Calculations
May 21, 2010
|  |  | Total Equivalent Units |  |  |  | TOTAL EQUIVALENT UNITS
Land Use Category | Growth Forecasts per GMS |  | Road System | Water System | Storm Sewer System | Sewage System
Residential - Low | 4651 | dwellings | 4651 | 4651 | 4651 | 4651 | 18604
Residential - Medium | 2326 | dwellings | 1318.0744 | 1767.76 | 1395.6 | 1767.76 | 6249.1944
Residential - High | 775 | dwellings | 406.875 | 410.75 | 403 | 410.75 | 1631.375
Commercial | 100200 | m2 | 5260.5 | 240.48 | 741.48 | 330.66 | 6573.12
Industrial | 86 | hectares | 1605.3362 | 1042.32 | 2124.2 | 1433.62 | 6205.4762
Institutional | 78329 | m2 | 2349.87 | 234.987 | 916.4493 | 258.4857 | 3759.792
TOTAL EQUIVALENT UNITS |  |  | 15591.6556 | 8347.297 | 10231.7293 | 8852.2757 | 43022.9576
BASELINE: 1 LOW DENSITY SINGLE FAMILY RESIDENTIAL DWELLING = 1 EQUIVALENT UNIT
Equivalent Unit Conversion Factors
Land Use Category | DCC Collection Basis |  | Road System | Water System | Storm Sewer System | Sanitary Sewer System | Equivalency Explanation
Residential - Low | dwelling units |  | 1 | 1 | 1 | 1 | # of dwelling units equal to 1 EU
Residential - Medium | dwelling units |  | 0.56667 | 0.76 | 0.6 | 0.76 | # of dwelling units equal to 1 EU
Residential - High | dwelling units |  | 0.525 | 0.53 | 0.52 | 0.53 | # of dwelling units equal to 1 EU
Commercial | m2 gross floor space |  | 0.0525 | 0.0024 | 0.0074 | 0.0033 | m2 of Commercial gross floor space equal to 1 EU
Industrial | hectares of site area |  | 18.6667 | 12.12 | 24.7 | 16.67 | hectares of Industrial land equal to 1 EU
Institutional | m2 gross floor space |  | 0.03 | 0.003 | 0.0117 | 0.0033 | m2 of Institutional gross floor space equal to 1 EU
Comment: Total equivalent units are calculated by multiplying: growth forecasts for each land use category x equivalent unit conversion factor

## Road System Capital Costs
CITY OF CRANBROOK - 2010 DCC CALCULATION |  |  |  | a | b |  | c | d | e | f | c-d-e-f g | g x a h | h x % i | h - i j |  | c-h+i-(d+e+f) k
ROAD SYSTEM CAPITAL COSTS |  |  |  | Benefit Allocation |  | Total Capital Cost (Build Out Horizon ~ 55 yrs) | TOTAL CAPITAL COST (20 Year) | Less: Non-DCC Funding |  |  | Net Capital Cost ( for DCC calculations ) | Benefit to New Development | 51% | Total Recoverable From DCC | DCC Recoverable Amount | Total Municipal Responsibility
# | Project Name | Description | Target Year | % to New Dev. | % to Existing |  |  | Developer Contrib. | Provincial Grants | Other |  |  | Municipal Assist
1 | Highway 3/95 | Twinning from north of Fort Steel Interchange to south of Jim Smith Lake Road within the City |  | 50% | 50% | 29070000 | 10570909.0909 |  | 8456727.2727 |  | 2114181.8182 | 1057090.9091 | 539116.3636 | 517974.5455 |  | 1596207.2727
|  | Install 4 new signals between Theatre Road/Mission Road and Mountain View Road/Parnoby Road |  | 50% | 50% | 800000 | 290909.0909 |  | 232727.2727 |  | 58181.8182 | 29090.9091 | 14836.3636 | 14254.5455 |  | 43927.2727
2 | Theatre Road | Upgrade to be 4-lane undivided roadway from Cranbrook Street to Highway 3/95 |  | 50% | 50% | 7700000 | 2800000 |  |  |  | 2800000 | 1400000 | 714000 | 686000 |  | 2114000
|  | Install a traffic signal at MCPhee Road |  | 50% | 50% | 200000 | 72727.2727 |  |  |  | 72727.2727 | 36363.6364 | 18545.4545 | 17818.1818 |  | 54909.0909
3 | Ridgeview Road | Upgrade 4-lane undivided roadway from 12 Street N to north of Willowbrook Drive |  | 25% | 75% | 2270000 | 825454.5455 |  |  |  | 825454.5455 | 206363.6364 | 105245.4545 | 101118.1818 |  | 724336.3636
|  | Construct 4-lane undivided roadway from north of Willowbrook Drive to 22 Street N, and from 6 Street NW to 22 Street N |  | 25% | 75% | 3740000 | 1360000 |  |  |  | 1360000 | 340000 | 173400 | 166600 |  | 1193400
|  | Construct 2-lane undivided roadway for Van Horn Street from 22 Street N to Highway 3/95 Ramp, and from 3 Street S to 6 Street NW |  | 25% | 75% | 2280000 | 829090.9091 |  |  |  | 829090.9091 | 207272.7273 | 105709.0909 | 101563.6364 |  | 727527.2727
4 | 6 Street NW | Upgrade to be 4-lane undivided roadway from Kootenay Street N to north of Industrial Road No.3 |  | 10% | 90% | 2270000 | 825454.5455 |  |  |  | 825454.5455 | 82545.4545 | 42098.1818 | 40447.2727 |  | 785007.2727
|  | Construct 4-lane undivided roadway north of Industrial Road No.3 |  | 60% | 40% | 3740000 | 1360000 |  |  |  | 1360000 | 816000 | 416160 | 399840 |  | 960160
|  | Install traffic signals at Industrial Road No.1 and Kootenay Street N with 6 Street NW |  | 10% | 90% | 400000 | 145454.5455 |  |  |  | 145454.5455 | 14545.4545 | 7418.1818 | 7127.2727 |  | 138327.2727
5 | 14 Avenue South | Upgrade 14 Avenue S. to 4-lane undivided roadway from 2nd St. N. to 1st St. S |  | 0% | 100% | 1080000 | 392727.2727 |  |  |  | 392727.2727 | 0 | 0 | 0 |  | 392727.2727
6 | New Road North of Ind Rd 3 and 6 St NW | Construct a new 2-lane undivided roadway from King Street W. to Highway 3/95 |  | 50% | 50% | 9540000 | 3469090.9091 |  |  |  | 3469090.9091 | 1734545.4545 | 884618.1818 | 849927.2727 |  | 2619163.6364
7 | Mountain View/Parnoby Road | Construct/extend the existing 2-lane undivided roadway from King Street W to Mission Road |  | 90% | 10% | 13570000 | 4934545.4545 |  |  |  | 4934545.4545 | 4441090.9091 | 2264956.3636 | 2176134.5455 |  | 2758410.9091
8 | Echo Field Road | Construct/extend the existing 2-lane undivided roadway to connect Mountain View Road and Kennedy Road at Hwy. 3/95 |  | 90% | 10% | 5050000 | 1836363.6364 |  |  |  | 1836363.6364 | 1652727.2727 | 842890.9091 | 809836.3636 |  | 1026527.2727
9 | 3 Avenue NW | Construct/extend existing 2-lane undivided roadway of 3 Street NW to connect Cross Road NW |  | 15% | 85% | 2790000 | 1014545.4545 |  |  |  | 1014545.4545 | 152181.8182 | 77612.7273 | 74569.0909 |  | 939976.3636
10 | Industrial Road No.1 | Construct/extend existing 2-lane undivided roadway to connect Theatre Road |  | 10% | 90% | 890000 | 323636.3636 |  |  |  | 323636.3636 | 32363.6364 | 16505.4545 | 15858.1818 |  | 307778.1818
11 | 22 Street North | Construct/extend existing 2-lane undivided roadway to connect 30 Avenue N |  | 25% | 75% | 800000 | 290909.0909 |  |  |  | 290909.0909 | 72727.2727 | 37090.9091 | 35636.3636 |  | 255272.7273
12 | 34 Avenue South | Construct/extend existing 2-lane undivided roadway to connect 30 Avenue N |  | 40% | 60% | 6080000 | 2210909.0909 |  |  |  | 2210909.0909 | 884363.6364 | 451025.4545 | 433338.1818 |  | 1777570.9091
13 | College Way | Construct/extend existing 2-lane undivided roadway to connect 30 Avenue N |  | 40% | 60% | 1220000 | 443636.3636 |  |  |  | 443636.3636 | 177454.5455 | 90501.8182 | 86952.7273 |  | 356683.6364
14 | 13 Street South | Construct/extend existing 2-lane undivided roadwaybetween 24 Ave. S & 34 Ave. S |  | 40% | 60% | 860000 | 312727.2727 |  |  |  | 312727.2727 | 125090.9091 | 63796.3636 | 61294.5455 |  | 251432.7273
15 | Victoria Avenue South | Construct/extend existing 2-lane undivided roadway to connect to 17 Street S |  | 25% | 75% | 820000 | 298181.8182 |  |  |  | 298181.8182 | 74545.4545 | 38018.1818 | 36527.2727 |  | 261654.5455
16 | 11 Street South | Construct/extend existing 2-lane undivided roadway between 14 Ave. S & 16 Ave. S |  | 10% | 90% | 400000 | 145454.5455 |  |  |  | 145454.5455 | 14545.4545 | 7418.1818 | 7127.2727 |  | 138327.2727
17 | 17 Street South | Construct/extend existing 2-lane undivided roadway east of 4 Ave. S & west of 14 Ave. S |  | 60% | 40% | 990000 | 360000 |  |  |  | 360000 | 216000 | 110160 | 105840 |  | 254160
18 | Industrial Road No.2 | Upgrade to be 4-lane undivided roadway from 6 St north to a new road (Item #6) |  | 50% | 50% | 6210000 | 2258181.8182 |  |  |  | 2258181.8182 | 1129090.9091 | 575836.3636 | 553254.5455 |  | 1704927.2727
19 | Victoria Avenue South | Upgrade to be 4-lane divided roadway north of 3 Street S |  | 10% | 90% | 330000 | 120000 |  |  |  | 120000 | 12000 | 6120 | 5880 |  | 114120
20 | 2 Street North | Upgrade to be 4-lane undivided roadway from Victoria Avenue N to 17 Avenue N |  | 50% | 50% | 810000 | 294545.4545 |  |  |  | 294545.4545 | 147272.7273 | 75109.0909 | 72163.6364 |  | 222381.8182
21 | Echo Field Road | Remove the connection with Highway 3/95 |  | 90% | 10% | 30000 | 10909.0909 |  | 8727.2727 |  | 2181.8182 | 1963.6364 | 1001.4545 | 962.1818 |  | 1219.6364
22 | Wycliffe Park Road | Remove the connection with Highway 3/95 |  | 90% | 10% | 120000 | 43636.3636 |  | 34909.0909 |  | 8727.2727 | 7854.5455 | 4005.8182 | 3848.7273 |  | 4878.5455
LESS: ROAD DCC RESERVE FUNDS | [13 empty] | 0
TOTAL | [6 empty] | 37840000 | 0 | 8733090.9091 | 0 | 29106909.0909 | 15065090.9091 | 7683196.3636 | 7381894.5455 | 0 | 21725014.5455
[8 empty] | TOTAL ROAD SYSTEM EQUIVALENT UNITS | [5 empty] | 15591.6556
[11 empty] | $ DCC PER EQUIVALENT UNIT |  |  | 473.4516
ROAD SYSTEM $ DCC BY LAND USE CATEGORY
[13 empty] | Equivalent Units | $ DCC
[11 empty] | RESIDENTIAL - Low |  | 1 | 473.4516 |  | per dwelling unit
[11 empty] | RESIDENTIAL - Medium |  | 0.56667 | 268.2908 |  | per dwelling unit
[11 empty] | RESIDENTIAL - High |  | 0.525 | 248.5621 |  | per dwelling unit
[11 empty] | COMMERCIAL |  | 0.0525 | 24.8562 |  | per m2
[11 empty] | INDUSTRIAL |  | 18.6667 | 8837.7793 |  | per hectare
[11 empty] | INSTITUTIONAL |  | 0.03 | 14.2035 |  | per m2

## Water System Capital Costs
CITY OF CRANBROOK - 2010 DCC CALCULATION |  |  |  | a | b | c | d | e | f | c-d-e-f g | g x a h | h x % i | (h * %) i | (h * %) i | h - i j |  | (h * %) i | c-h+i-(d+e+f) k
WATER SYSTEM CAPITAL COSTS |  |  |  | Benefit Allocation |  | TOTAL CAPITAL COST | Less: Non-DCC Funding |  |  | Net Capital Cost ( for DCC calculations ) | Benefit to New Development | 11% |  |  | Total Recoverable From DCC | DCC Recoverable Amount |  | Total Municipal Responsibility
# | Project Name | Description | Target Year | % to New Dev. | % to Existing |  | Developer Contrib. | Provincial Grants | Other |  |  | Municipal Assist
1 | Supply Main Twinning | Twin existing 750mm supply main from reservoir to PRV's | 2011 | 50% | 50% | 8300000 |  |  |  | 8300000 | 4150000 | 456500 |  |  | 3693500 |  |  | 4606500
2 | Treatment System Upgrades | Upgrade Treatment Facility for UV disinfection, filtration | 2025 | 50% | 50% | 10000000 |  |  |  | 10000000 | 5000000 | 550000 |  |  | 4450000 |  |  | 5550000
3 | Wildstone / St. Mary Waterline (Hwy 95A) | Install 5.1km 300mm watermain from North Reservoir along 95A to Wildstone North and St. Mary Growth Areas. Includes PRV Station. | 2016 | 100% | 0% | 5400000 |  |  |  | 5400000 | 5400000 | 594000 |  |  | 4806000 |  |  | 594000
4 | North Reservoir & PRV Improvements | Construct 7.5ML Reservoir & PRV Associated Improvements | 2013 | 50% | 50% | 9300000 |  |  |  | 9300000 | 4650000 | 511500 |  |  | 4138500 |  |  | 5161500
5 | West Trunk Watermain | 300mm Diameter West Trunk Watermain and PRV Improvements | 2020 | 75% | 25% | 2420000 |  |  |  | 2420000 | 1815000 | 199650 |  |  | 1615350 |  |  | 804650
6 | South Reservoir | Construct 7.5ML Reservoir & PRV Associated Improvements | 2020 | 50% | 50% | 4500000 |  |  |  | 4500000 | 2250000 | 247500 |  |  | 2002500 |  |  | 2497500
7 | South Booster Station | Required to boost pressures for growth in the south part of the City near future South Reservoir | 2020 | 100% | 0% | 1000000 | 1000000 |  |  | 0 | 0 | 0 |  |  | 0 |  |  | 0
8 | St. Mary Growth Area PRV's | 2 PRV Stations in St. Mary Growth Area | 2020 | 100% | 0% | 300000 | 300000 |  |  | 0 | 0 | 0 |  |  | 0 |  |  | 0
9 | Wildstone Pressure Zone Improvement | Install PRV #14 off North Trunk, controls pressure to Wildstone Development | 2013 | 70% | 30% | 150000 |  |  |  | 150000 | 105000 | 11550 |  |  | 93450 |  |  | 56550
10 | Kootenay Street Improvements | Improve fire flow availability and provide redundancy for Willow Brook Dr, Kootenay St N and 2nd St S, and the College | 2014 | 0% | 100% | 90000 |  |  |  | 90000 | 0 | 0 |  |  | 0 |  |  | 90000
11 | 3rd & 4th Street Pressure Zone Improvement | Relocation of Pressure Zone Boundary. Watermain installation and boundary valve adjustments | 2015 | 0% | 100% | 1220000 |  |  |  | 1220000 | 0 | 0 |  |  | 0 |  |  | 1220000
12 | Mount Royal Drive Fireflow Improvement | Improves Fireflow to area | 2018 | 0% | 100% | 210000 |  |  |  | 210000 | 0 | 0 |  |  | 0 |  |  | 210000
13 | 10th St S Fireflow Improvement | Install pipe to connect existing watermain on 10th St S and 9th St S (west of 3rd Ave S) | 2019 | 0% | 100% | 210000 |  |  |  | 210000 | 0 | 0 |  |  | 0 |  |  | 210000
14 | 1st Ave S Fireflow Improvement | Install pipe to connect existing watermain on 11th St S and 1st Ave S | 2021 | 0% | 100% | 300000 |  |  |  | 300000 | 0 | 0 |  |  | 0 |  |  | 300000
15 | 13th St S Fireflow Improvement | Install pipe to connect existing watermain on 13th St S between 12th Ave S and 14th Ave S | 2022 | 0% | 100% | 80000 |  |  |  | 80000 | 0 | 0 |  |  | 0 |  |  | 80000
16 | 17th St S Fireflow Improvement | Install pipe to connect existing watermain on 17th St S and 12th Ave S | 2023 | 0% | 100% | 260000 |  |  |  | 260000 | 0 | 0 |  |  | 0 |  |  | 260000
17 | 22nd St S & 23rd St S Fireflow Improvement | Install pipe to connect existing watermain on Southview Crt and 23rd St S. Install pipe to connect existing watermain on 22nd St S and 23rd St S | 2024 | 0% | 100% | 465000 |  |  |  | 465000 | 0 | 0 |  |  | 0 |  |  | 465000
18 | 10th St S and Victoria Ave S Fireflow Improvement | Install pipe to connect existing watermain on 10th St S (east of Victoria Ave S) and 9th St S | 2025 | 0% | 100% | 135000 |  |  |  | 135000 | 0 | 0 |  |  | 0 |  |  | 135000
19 | 6th St S Fireflow Improvement | Replace 50mm watermain on 6th St S between 14th Ave S and 11th Ave S | 2026 | 0% | 100% | 305000 |  |  |  | 305000 | 0 | 0 |  |  | 0 |  |  | 305000
20 | 4th St S and 17th Ave S Fireflow Improvement | Replace 100mm watermain on 17th Ave S south of 4th St S. Replace 100mm watermain on 4th St S between 18th Ave S & lane between 17th Ave S & 16th Ave S | 2027 | 0% | 100% | 185000 |  |  |  | 185000 | 0 | 0 |  |  | 0 |  |  | 185000
21 | 15th Ave S Fireflow Improvement | Replace 50mm watermain on 15th Ave S between 2nd St S and 3rd St S. Replace 50mm watermain on 3rd St S between 15th Ave S and lane between 16th Ave S and 15th Ave S. | 2028 | 0% | 100% | 255000 |  |  |  | 255000 | 0 | 0 |  |  | 0 |  |  | 255000
22 | 2A Ave S Fireflow Improvement | Replace 50mm watermain on 2A Ave S at 3rd Ave S | 2029 | 0% | 100% | 260000 |  |  |  | 260000 | 0 | 0 |  |  | 0 |  |  | 260000
LESS: WATER DCC RESERVE FUNDS | [14 empty] | 0
TOTAL | [5 empty] | 45345000 | 1300000 | 0 | 0 | 44045000 | 23370000 | 2570700 | 0 | 0 | 20799300 | 0 |  | 23245700
[7 empty] | TOTAL WATER SYSTEM EQUIVALENT UNITS | [7 empty] | 8347.297
[10 empty] | $ DCC PER EQUIVALENT UNIT |  |  |  |  | 2491.7407
WATER SYSTEM $ DCC BY LAND USE CATEGORY
[12 empty] | Equivalent Units |  |  | $ DCC
[10 empty] | RESIDENTIAL - Low |  | 1 |  |  | 2491.7407 |  |  | per dwelling unit
[10 empty] | RESIDENTIAL - Medium |  | 0.76 |  |  | 1893.723 |  |  | per dwelling unit
[10 empty] | RESIDENTIAL - High |  | 0.53 |  |  | 1320.6226 |  |  | per dwelling unit
[10 empty] | COMMERCIAL |  | 0.0024 |  |  | 5.9802 |  |  | per m2
[10 empty] | INDUSTRIAL |  | 12.12 |  |  | 30199.8978 |  |  | per hectare
[10 empty] | INSTITUTIONAL |  | 0.003 |  |  | 7.4752 |  |  | per m2

## StormSewer System Capital Costs
CITY OF CRANBROOK - 2010 DCC CALCULATION |  |  |  | a | b | c | d | e | f | c-d-e-f g | g x a h | h x % i | h - i j | c-h+i-(d+e+f) k
STORM SEWER SYSTEM CAPITAL COSTS |  |  |  | Benefit Allocation |  | TOTAL CAPITAL COST | Less: Non-DCC Funding |  |  | Net Capital Cost (for DCC calculations) | Benefit to New Development | 51% | Total Recoverable From DCC | Total Municipal Responsibility
# | Project Name | Description | Target Year | % to New Dev. | % to Existing |  | Developer Contrib. | Provincial Grants | Other |  |  | Municipal Assist
1 | Project #1 | 2004 Net Storm Drainage DCC |  |  | 100% | 4980185 |  |  |  | 4980185 | 0 | 0 | 4980185 | 4980185
2 | Project #2 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
3 | Project #3 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
4 | Project #4 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
5 | Project #5 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
6 | Project #6 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
7 | Project #7 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
8 | Project #8 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
9 | Project #9 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
10 | Project #10 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
11 | Project #11 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
12 | Project #12 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
13 | Project #13 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
14 | Project #14 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
15 | Project #15 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
16 | Project #16 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
17 | Project #17 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
18 | Project #18 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
19 | Project #19 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
20 | Project #20 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
21 | Project #21 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
22 | Project #22 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
23 | Project #23 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
24 | Project #24 |  |  |  | 100% |  |  |  |  | 0 | 0 | 0 | 0 | 0
LESS: STORM DCC RESERVE FUNDS | [12 empty] | 491793
TOTAL | [5 empty] | 4980185 | 0 | 0 | 0 | 4980185 | 0 | 0 | 4488392 | 4980185
[7 empty] | TOTAL STORM SEWER SYSTEM EQUIVALENT UNITS | [5 empty] | 10231.7293
[10 empty] | $ DCC PER EQUIVALENT UNIT |  |  | 438.6738
STORM SEWER SYSTEM $ DCC BY LAND USE CATEGORY
[12 empty] | Equivalent Units | $ DCC
[10 empty] | RESIDENTIAL - Low |  | 1 | 438.6738 | per dwelling unit
[10 empty] | RESIDENTIAL - Medium |  | 0.6 | 263.2043 | per dwelling unit
[10 empty] | RESIDENTIAL - High |  | 0.52 | 228.1104 | per dwelling unit
[10 empty] | COMMERCIAL |  | 0.0074 | 3.2462 | per m2
[10 empty] | INDUSTRIAL |  | 24.7 | 10835.2439 | per hectare
[10 empty] | INSTITUTIONAL |  | 0.0117 | 5.1325 | per m2

## Sewage System Capital Costs
CITY OF CRANBROOK - 2010 DCC CALCULATION |  |  |  | a | b | c | d | e | f | c-d-e-f g | g x a h | h x % i | h - i j | c-h+i-(d+e+f) k
SEWAGE SYSTEM CAPITAL COSTS |  |  |  | Benefit Allocation |  | TOTAL CAPITAL COST | Less: Non-DCC Funding |  |  | Net Capital Cost ( for DCC calculations ) | Benefit to New Development | 11% | Total Recoverable From DCC | Total Municipal Responsibility
# | Project Name | Description | Target Year | % to New Dev. | % to Existing |  | Developer Contrib. | Provincial Grants | Other |  |  | Municipal Assist
1 | Transfer Pipeline Upgrade & Lift Station | Twin / Replace existing Transfer Pipeline & New Lift Station | 2011 | 50% | 50% | 11000000 |  |  |  | 11000000 | 5500000 | 605000 | 4895000 | 6105000
2 | Victoria Avenue Trunk Upgrades | Twinning or replacement of 980 metres of existing sewers along 17th Avenue N from Baker to 2nd Street to Victoria Avenue as well as 120 metres of sewer along Victoria Avenue north of Kootenay Street. The improvement also requires a diversion interconnection from the Victoria Avenue Trunk to the East Trunk at Victoria Avenue and 6th Street N | 2013 | 50% | 50% | 3000000 |  |  |  | 3000000 | 1500000 | 165000 | 1335000 | 1665000
3 | Outfall Trunk Upgrades | Twinning of 700 metres of existing sewers with 600mm diameter sewer from 22nd Street N and Cranbrook Street to the influent screening chamber | 2017 | 50% | 50% | 2500000 |  |  |  | 2500000 | 1250000 | 137500 | 1112500 | 1387500
4 | Cranbrook Street Trunk Upgrades | Twinning of 450 metres of existing sewers with 450mm diameter sewer along Cranbrook Street near Willowbrook Drive | 2015 | 50% | 50% | 2000000 |  |  |  | 2000000 | 1000000 | 110000 | 890000 | 1110000
5 | Wastewater Lagoon Improvements | New Aeration System | 2020 | 0% | 100% | 400000 |  |  |  | 400000 | 0 | 0 | 0 | 400000
6 | Effluent Disposal Upgrades | Upgrades to Aeration System at Existing Lagoons. Upgrades to Storage Ponds and Irrigation Pumping System. Extension to Spray Irrigation Pipeline. New Outfall discharge to Kootenay River | 2025 | 50% | 50% | 14445000 |  |  |  | 14445000 | 7222500 | 794475 | 6428025 | 8016975
7 | Cranbrook Street Trunk Upgrades (Phase 2) | Replace 1200m of 375mm Pipe | 2020 | 100% | 0% | 4200000 |  |  |  | 4200000 | 4200000 | 462000 | 3738000 | 462000
8 | 1st & 2nd Street South Trunk Upgrade | Replace 710m of 375mm Pipe | 2020 | 100% | 0% | 2200000 |  |  |  | 2200000 | 2200000 | 242000 | 1958000 | 242000
9 | 4th Street NW Trunk Upgrade | Replace 700m of 200mm and 250mm Pipe | 2016 | 100% | 0% | 1750000 |  |  |  | 1750000 | 1750000 | 192500 | 1557500 | 192500
10 | Lagoon Relocation | Relocation of Lagoons (as per FOCUS recommendations) | 2016 | 50% | 50% | 17000000 | 4020000 |  |  | 12980000 | 6490000 | 713900 | 5776100 | 11223900
LESS: SEWAGE DCC RESERVE FUNDS | [12 empty] | 0
TOTAL | [5 empty] | 58495000 | 4020000 | 0 | 0 | 54475000 | 31112500 | 3422375 | 27690125 | 30804875
[7 empty] | TOTAL SEWAGE SYSTEM EQUIVALENT UNITS | [5 empty] | 8852.2757
[10 empty] | $ DCC PER EQUIVALENT UNIT |  |  | 3128.0233
SEWAGE SYSTEM $ DCC BY LAND USE CATEGORY
[12 empty] | Equivalent Units | $ DCC
[10 empty] | RESIDENTIAL - Low |  | 1 | 3128.0233 | per dwelling unit
[10 empty] | RESIDENTIAL - Medium |  | 0.76 | 2377.2977 | per dwelling unit
[10 empty] | RESIDENTIAL - High |  | 0.53 | 1657.8524 | per dwelling unit
[10 empty] | COMMERCIAL |  | 0.0033 | 10.3225 | per m2
[10 empty] | INDUSTRIAL |  | 16.67 | 52144.1491 | per hectare
[10 empty] | INSTITUTIONAL |  | 0.0033 | 10.3225 | per m2